{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":20,"rows_kept":106}
[null,"Datum","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025","17.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 472","50H / 380kV / Lauchstädt - Vieselbach / 472","50H / 380kV / Lauchstädt - Vieselbach / 472","50H / 380kV / Lauchstädt - Vieselbach / 472","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Boxberg (Standort)","Schwarze Pumpe (Standort)","Goldisthal (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Rostock Kohlekraftwerk","Schkopau","Schkopau","Jänschwalde (Standort)","50H Berlin Marzahn","Rostock Kohlekraftwerk","50H Rostock Marienehe","50H Hamburg Tiefstack GuD","50H Hamburg Wedel1","50H Hamburg MMB BHKW PtH","Schwarze Pumpe (Standort)","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":85.5,"d":"85.50"},164.25,17.25,{"v":267,"d":"267.00"},{"v":10,"d":"10.00"},{"v":582,"d":"582.00"},{"v":160,"d":"160.00"},111.75,{"v":150,"d":"150.00"},{"v":810,"d":"810.00"},{"v":2133,"d":"2133.00"},751.25,{"v":52,"d":"52.00"},{"v":401,"d":"401.00"},{"v":184.5,"d":"184.50"},{"v":72,"d":"72.00"},{"v":52,"d":"52.00"},{"v":170,"d":"170.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,108,20,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,108,20,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,108,20,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,108,20,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,100,151,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,100,151,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,100,151,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,100,151,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,50,151,124,0,0,0,0,0,0,50]
["03:15","03:30",0,0,0,0,0,0,0,0,50,151,124,0,0,0,0,0,0,50]
["03:30","03:45",0,0,0,0,0,0,0,0,50,151,124,0,0,0,0,0,0,50]
["03:45","04:00",0,0,0,0,0,0,0,0,50,151,124,0,0,0,0,0,0,50]
["04:00","04:15",0,0,0,0,0,0,0,0,0,50,153,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,50,153,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,50,153,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,50,153,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,64,0,0,0,0,18,1,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,64,0,0,0,0,18,1,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,64,0,0,0,0,18,1,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,64,0,0,0,0,18,1,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,132,0,0,54,0,18,51,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,132,0,0,54,0,18,51,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,132,0,0,54,0,18,51,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,132,0,0,54,0,18,51,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,82,0,0,52,51,18,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,82,0,0,52,51,18,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,82,0,0,52,51,18,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,82,0,0,52,51,18,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,39,0,0,52,1,18,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,39,0,0,52,1,18,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,39,0,0,52,1,18,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,39,0,0,52,1,18,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,82,0,0,54,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,82,0,0,54,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,82,0,0,54,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,82,0,0,54,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,132,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,132,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,132,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,132,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,151,182,0,12,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,151,182,0,12,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,151,182,0,12,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,151,182,0,12,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,198,0,0,0,31,131,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,198,0,0,0,31,131,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,198,0,0,0,31,131,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,198,0,0,0,31,131,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,10,236,0,0,0,168,123,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,10,236,0,0,0,168,123,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,10,236,0,0,0,168,123,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,10,236,0,0,0,168,123,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,148,0,0,0,0,123,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,148,0,0,0,0,123,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,148,0,0,0,0,123,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,148,0,0,0,0,123,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,144,60,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,144,123,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,144,123,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,144,123,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,52,0,0,0,165,122,0,54,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,52,0,0,0,165,122,0,54,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,52,0,0,0,165,122,0,54,57,0,0,0]
["16:45","17:00",0,0,0,0,0,0,52,0,0,0,165,122,0,54,57,0,0,0]
["17:00","17:15",0,0,0,0,0,0,52,0,0,0,182,202,40,54,54,0,0,0]
["17:15","17:30",0,0,0,0,0,0,52,0,0,0,182,202,40,54,54,0,0,0]
["17:30","17:45",0,0,0,0,0,0,52,0,0,0,182,202,40,54,54,0,0,0]
["17:45","18:00",0,0,0,0,0,0,52,0,0,0,182,202,40,54,54,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,135,228,0,54,50,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,135,228,0,54,50,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,135,228,0,54,50,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,135,228,0,54,50,0,0,0]
["19:00","19:15",0,0,0,0,0,0,56,0,0,0,85,92,0,54,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,56,0,0,0,85,92,0,54,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,56,0,0,0,85,92,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,56,0,0,0,85,92,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,35,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,35,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,35,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,35,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,75,0,0,0,0,0,0,0,0,0,120]
["22:15","22:30",0,0,0,0,0,0,0,124,0,0,0,0,0,0,0,0,0,120]
["22:30","22:45",0,0,0,0,0,0,0,124,0,0,0,0,0,0,0,0,0,120]
["22:45","23:00",0,0,0,0,0,0,0,124,0,0,0,0,0,0,0,0,0,120]
["23:00","23:15",75,192,0,267,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",112,155,0,267,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",112,155,0,267,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",43,155,69,267,0,0,0,0,0,0,0,0,0,0,0,0,0,0]