{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":24,"rows_kept":106}
[null,"Datum","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025","11.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Marzahn","Boxberg (Standort)","Jänschwalde (Standort)","50H PV Witznitz","Jänschwalde (Standort)","Lippendorf VE","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H InfraLeuna IKW","50H Berlin Marzahn","50H Hamburg Wedel1","50H InfraLeuna IKW","50H Berlin Lichterfelde","Lippendorf VE","Schkopau","50H Hamburg Tiefstack 2 HKW SK","Jänschwalde (Standort)","Boxberg (Standort)","Goldisthal (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":150,"d":"150.00"},{"v":150,"d":"150.00"},{"v":119,"d":"119.00"},{"v":10,"d":"10.00"},{"v":64,"d":"64.00"},{"v":2473,"d":"2473.00"},793.75,{"v":2297,"d":"2297.00"},{"v":171,"d":"171.00"},{"v":990,"d":"990.00"},{"v":64,"d":"64.00"},{"v":11,"d":"11.00"},{"v":30,"d":"30.00"},{"v":331,"d":"331.00"},{"v":435,"d":"435.00"},{"v":900,"d":"900.00"},{"v":629,"d":"629.00"},{"v":414,"d":"414.00"},1136.75,1477.75,{"v":9,"d":"9.00"},{"v":30,"d":"30.00"}]
["00:00","00:15",0,0,0,0,0,278,50,473,0,399,0,0,17,0,0,0,88,0,83,240,0,0]
["00:15","00:30",0,0,0,0,0,278,50,473,0,399,0,0,17,0,0,0,88,0,83,240,0,0]
["00:30","00:45",0,0,0,0,0,278,50,473,0,399,0,0,17,0,0,0,88,0,83,240,0,0]
["00:45","01:00",0,0,0,0,0,278,50,473,0,399,0,0,17,0,0,0,88,0,83,240,0,0]
["01:00","01:15",0,0,0,0,0,415,125,587,0,230,0,0,0,0,15,0,0,0,82,353,0,0]
["01:15","01:30",0,0,0,0,0,415,158,587,0,230,0,0,0,0,15,0,0,0,82,353,0,0]
["01:30","01:45",0,0,0,0,0,415,158,587,0,230,0,0,0,0,15,0,0,0,82,353,0,0]
["01:45","02:00",0,0,0,0,0,415,158,587,0,230,0,0,0,0,15,0,0,0,82,353,0,0]
["02:00","02:15",0,0,0,0,0,415,158,587,0,361,32,0,0,0,0,0,0,0,83,136,0,0]
["02:15","02:30",0,0,0,0,0,415,158,587,0,361,32,0,0,0,0,0,0,0,71,136,12,0]
["02:30","02:45",0,0,0,0,0,415,158,587,0,361,32,0,0,0,0,0,0,0,71,136,12,0]
["02:45","03:00",0,0,0,0,0,415,158,587,0,361,32,0,0,0,0,0,0,0,71,136,12,0]
["03:00","03:15",0,0,0,0,0,338,158,325,0,0,0,0,0,0,0,0,50,0,85,306,0,0]
["03:15","03:30",0,0,0,0,0,338,158,325,0,0,0,0,0,0,0,0,50,0,80,311,0,0]
["03:30","03:45",0,0,0,0,0,338,158,325,0,0,0,0,0,0,0,0,50,0,80,311,0,0]
["03:45","04:00",0,0,0,0,0,338,158,325,0,0,0,0,0,0,0,0,50,0,80,311,0,0]
["04:00","04:15",0,0,0,0,0,415,110,325,0,0,0,0,0,0,0,0,0,0,82,7,0,0]
["04:15","04:30",0,0,0,0,0,415,110,325,0,0,0,0,0,0,0,0,0,0,82,7,0,0]
["04:30","04:45",0,0,0,0,0,415,110,325,0,0,0,0,0,0,0,0,0,0,82,7,0,0]
["04:45","05:00",0,0,0,0,0,415,110,325,0,0,0,0,0,0,0,0,0,0,82,7,0,0]
["05:00","05:15",0,150,0,0,0,265,106,0,171,0,0,0,0,14,0,0,0,0,79,0,0,0]
["05:15","05:30",0,150,0,0,0,265,106,0,171,0,0,0,0,14,0,0,0,0,79,0,0,0]
["05:30","05:45",0,150,0,0,0,265,106,0,171,0,0,0,0,14,0,0,0,0,64,0,0,0]
["05:45","06:00",0,150,0,0,0,265,106,0,171,0,0,0,0,14,0,0,0,0,64,0,0,0]
["06:00","06:15",50,0,0,0,0,347,50,0,0,0,32,11,0,33,0,0,0,0,58,0,0,0]
["06:15","06:30",50,0,0,0,0,347,50,0,0,0,32,11,0,33,0,0,0,0,58,0,0,0]
["06:30","06:45",50,0,0,0,0,347,50,0,0,0,32,11,0,33,0,0,0,0,58,0,0,0]
["06:45","07:00",50,0,0,0,0,347,50,0,0,0,32,11,0,33,0,0,0,0,58,0,0,0]
["07:00","07:15",50,0,0,0,0,0,0,0,0,0,0,0,0,36,35,0,0,0,53,0,0,0]
["07:15","07:30",50,0,0,0,0,0,0,0,0,0,0,0,0,36,35,0,0,0,53,0,0,0]
["07:30","07:45",50,0,0,0,0,0,0,0,0,0,0,0,0,36,35,0,0,0,53,0,0,0]
["07:45","08:00",50,0,0,0,0,0,0,0,0,0,0,0,0,36,35,0,0,0,53,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,39,35,0,0,0,53,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,39,35,0,0,0,53,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,39,35,0,0,0,53,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,39,35,0,0,0,53,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,1,31,35,0,0,0,56,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,1,31,35,0,0,0,56,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,1,31,35,0,0,0,56,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,1,31,35,0,0,0,56,0,0,0]
["10:00","10:15",0,0,0,0,0,0,12,0,0,0,0,0,10,18,35,0,0,0,58,0,0,0]
["10:15","10:30",0,0,0,0,0,0,12,0,0,0,0,0,10,18,35,0,0,0,58,0,0,0]
["10:30","10:45",0,0,0,0,0,0,12,0,0,0,0,0,10,18,35,0,0,0,58,0,0,0]
["10:45","11:00",0,0,0,0,0,0,12,0,0,0,0,0,10,18,35,0,0,0,58,0,0,0]
["11:00","11:15",0,0,0,10,0,0,0,0,0,0,0,0,0,13,35,0,0,138,60,0,0,0]
["11:15","11:30",0,0,0,10,0,0,0,0,0,0,0,0,0,13,35,0,0,138,60,0,0,0]
["11:30","11:45",0,0,0,10,0,0,0,0,0,0,0,0,0,13,35,0,0,138,60,0,0,0]
["11:45","12:00",0,0,0,10,0,0,0,0,0,0,0,0,0,13,35,0,0,138,60,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,28,35,0,406,138,65,191,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,28,35,0,406,138,65,191,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,28,35,0,406,138,65,191,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,28,35,0,406,138,65,191,0,0]
["13:00","13:15",0,0,0,0,64,0,0,0,0,0,0,0,0,10,35,0,0,138,63,176,0,0]
["13:15","13:30",0,0,0,0,64,0,0,0,0,0,0,0,0,10,35,0,0,138,63,176,0,0]
["13:30","13:45",0,0,0,0,64,0,0,0,0,0,0,0,0,10,35,0,0,138,63,176,0,0]
["13:45","14:00",0,0,0,0,64,0,0,0,0,0,0,0,0,10,35,0,0,138,63,176,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,0,13,35,0,85,0,61,65,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,0,13,35,0,85,0,61,65,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,0,13,35,0,85,0,61,65,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,0,13,35,0,85,0,61,65,0,0]
["15:00","15:15",0,0,119,0,0,0,0,0,0,0,0,0,0,13,35,110,0,0,0,0,0,0]
["15:15","15:30",0,0,119,0,0,0,0,0,0,0,0,0,0,13,35,110,0,0,0,0,0,40]
["15:30","15:45",0,0,119,0,0,0,0,0,0,0,0,0,0,13,35,110,0,0,0,0,0,40]
["15:45","16:00",0,0,119,0,0,0,0,0,0,0,0,0,0,13,35,110,0,0,0,0,0,40]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,61,0,150,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,61,0,150,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,61,0,150,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,61,0,150,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,130,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,130,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,130,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,130,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,150,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,150,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,150,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,150,0,0,0,0,0,0]
["20:00","20:15",50,0,0,0,0,0,0,0,0,0,0,0,2,0,35,150,0,0,68,0,0,0]
["20:15","20:30",50,0,0,0,0,0,0,0,0,0,0,0,2,0,35,150,0,0,68,0,0,0]
["20:30","20:45",50,0,0,0,0,0,0,0,0,0,0,0,2,0,35,150,0,0,68,0,0,0]
["20:45","21:00",50,0,0,0,0,0,0,0,0,0,0,0,2,0,35,150,0,0,68,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,80,0,0,68,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,80,0,0,68,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,80,0,0,68,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,80,0,0,68,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","11.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",2431.25]
["00:00","00:15",125]
["00:15","00:30",125]
["00:30","00:45",125]
["00:45","01:00",125]
["01:00","01:15",125]
["01:15","01:30",125]
["01:30","01:45",125]
["01:45","02:00",125]
["02:00","02:15",125]
["02:15","02:30",125]
["02:30","02:45",125]
["02:45","03:00",125]
["03:00","03:15",125]
["03:15","03:30",125]
["03:30","03:45",125]
["03:45","04:00",125]
["04:00","04:15",125]
["04:15","04:30",125]
["04:30","04:45",125]
["04:45","05:00",125]
["05:00","05:15",75]
["05:15","05:30",75]
["05:30","05:45",125]
["05:45","06:00",125]
["06:00","06:15",125]
["06:15","06:30",175]
["06:30","06:45",175]
["06:45","07:00",175]
["07:00","07:15",175]
["07:15","07:30",175]
["07:30","07:45",125]
["07:45","08:00",125]
["08:00","08:15",125]
["08:15","08:30",125]
["08:30","08:45",125]
["08:45","09:00",125]
["09:00","09:15",125]
["09:15","09:30",125]
["09:30","09:45",125]
["09:45","10:00",125]
["10:00","10:15",125]
["10:15","10:30",125]
["10:30","10:45",125]
["10:45","11:00",125]
["11:00","11:15",125]
["11:15","11:30",125]
["11:30","11:45",125]
["11:45","12:00",125]
["12:00","12:15",125]
["12:15","12:30",125]
["12:30","12:45",125]
["12:45","13:00",125]
["13:00","13:15",125]
["13:15","13:30",125]
["13:30","13:45",125]
["13:45","14:00",125]
["14:00","14:15",125]
["14:15","14:30",125]
["14:30","14:45",125]
["14:45","15:00",125]
["15:00","15:15",75]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",100]
["17:15","17:30",100]
["17:30","17:45",100]
["17:45","18:00",100]
["18:00","18:15",100]
["18:15","18:30",100]
["18:30","18:45",100]
["18:45","19:00",100]
["19:00","19:15",100]
["19:15","19:30",100]
["19:30","19:45",100]
["19:45","20:00",100]
["20:00","20:15",100]
["20:15","20:30",100]
["20:30","20:45",100]
["20:45","21:00",100]
["21:00","21:15",100]
["21:15","21:30",100]
["21:30","21:45",100]
["21:45","22:00",100]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]