## 00 Editing Note
Market Sounding/Evaluation for potential vendors of systems for State Estimation
Notes for the vendor on the processing of the present document
This market evaluation is intended to be used by the vendor to answer or process questions or tasks related to 50hertz's State Estimation Initiative. In this context, please note the following processing instructions:
Please enter your responses in the designated "Vendor Response"" column of the respective Task and Question Tables.
If possible, keep your answers short and precise. If necessary, you can include one-to-one references to attached files (concrete graphics and/or individual MS PowerPoint slides, etc.) in the respective answer fields.
Unless 50Hertz specifically asks for additional documents in the task or question, please do not attach any additional documents from which the answer or processing of a task or question could result.
Please save the response document you edited in MS Office Excel format with the following name: MEV_SE_for_50Hertz_<Name Provider>.xlsx. Unfortunately, providing the response document in pdf format cannot be accepted.

## 01 Content
Market Sounding/Evaluation for potential vendors of systems for State Estimation
01 Content
02 Introduction
03 SE & Extended Functionality
| 3.1 | Industry Knowledge and Experience
| 3.2 | General Requirements
| 3.3 | Topology Processing & Plausibility Check
| 3.4 | Observability Analysis
| 3.5 | State Estimation Solution
| 3.6 | Bad Data Handling
| 3.7 | User Interface
| 3.8 | Additional functionalities
04 IT-related questions
| 4.1 | Modularity, Programming Interfaces and IT-Services
| 4.2 | IT-support
Attachment
| 1 | MCCSng_Ext-System_Integration_Scenarios.pdf
Yes
No

## 02 Introduction
Market Sounding/Evaluation for potential vendors of systems for State Estimation
02 Introduction
With MCCS NextGen, 50Hertz plans to completely replace all application software systems and integration technologies in its system operation, including SCADA, EMS, LFC, CMS, scheduling, etc., as well as adding or enhancing relevant capabilities such as dynamic system analysis, dynamic voltage maintenance, automated topology optimization, online analytics and more. Associated with MCCS NextGen is a strict focus on modularization of applications, loose data- and event-driven coupling of modules, and flexible integration of modules. MCCS NextGen will be shared by 50Hertz as a vision, architecture, and reference solution with peers (e.g., other international TSOs) in a MCCS NextGen community, becoming a blueprint for 50Hertz and other TSOs and community partners to quickly respond to the increasing change needs in electric (and other) infrastructure management applications. For further information about MCCS please check: https://www.50hertz.com/en/Grid/MCCSNG
One module of MCCS will be the State Estimation as part of the Grid Analysis Suite. This market sounding aims to identify potential vendors for a State Estimation solution that fits within the modular approach of MCCS. As can be seen in the illustration below, we are not necessarily aiming to procure all necessary parts of a State Estimation, but more the core calculation capabilities. Since MCCS has its own unified user interface, the State Estimation does not necessarily need to be delivered with an inbuild UI. Also, the Topology Processing is needed for various MCCS modules and therefore does not necessarily have to be part of the State Estimation Module, as it will be provided by MCCS. The exact content and technical requirements are requested in tabs 03 and 04.

## 03 SE & Extended Func.
3. | Questions about State Estimation competences | Capability | Select answer (dropdown) or leave blank | Explanation/Details/Specification
3.1 | Industry Knowledge and Experience
3.1.1 | Please describe your knowledge and experience in the field of energy and electric power systems (briefly & bulletpoints).
3.1.2 | What knowledge and experience do you have in respect to development/ integration of systems for real-time state estimation within the area of grid operators?
3.1.3 | Please describe (name of customer is not relevant) at least 3 reference projects for the implementation of a real-time state estimation and specify the following information: grid size, goal of the project, calculation types/methods, rough effort (man days).
3.1.4 | Is your company involved in research concerning State Estimation? If yes, which?
3.2 | General Requirements
3.2.1 | Which of the parts of a State Estimation according to the picture in tab 02 Introduction are you able to deliver? | Solution Scope
3.2.2 | Through which interfaces does the system ingest real time data? (IEC 104, Kafka…) | Integration
3.2.3 | What forms and technologies for integration does your solution support/integrate (e.g. API/technology stack, WebServices, file, databases, event streaming)? | Integration
3.2.4 | What is the content and mode of the interfaces (e.g. asynchronous/synchronous data exchange, asynchronous/synchronous triggering of activities)? | Integration
3.2.5 | Does your solution support external configuration and parameterization? | Integration
3.2.6 | Which technologies (e.g. web service, file), standards and data models (e.g. flat lists, XML, SCL, CIM, IEC, UCTE) does the solution support? | Integration
3.2.7 | Considering the modular approach of MCCS NextGen, which style of project delivery (PoC, MVP, full scope) does the supplier propose to realize implementations efficiently and in a short time, but also considering the constantly changing environment of MCCS? | Project approach
3.3 | Topology Processing & Plausibility Check
3.3.1 | Does the system need an own data model or is it able to use the centrelized MCCS data model via Kafka? | Topology Processing
3.3.2 | Can the tool do plausibility checks of grid data? If yes, which checks are provided? | Checking of Plausibility
3.3.3 | Is bus section processing/ grid reduction performed? | Topology Processing
3.4 | Observability Analysis
3.4.1 | Is the system able to assess the observability of the power grid and identify unobservable parts of the grid? | Analyse Grid Observability
3.4.2 | How does the system assess the observability of the power grid? | Analyse Grid Observability
3.4.3 | Is the system able to provide non-observable parts of the power grid with pseudo-measurements to establish observability? | Analyse Grid Observability
3.4.4 | Is the system able to generate pseudo-measurements based on parameterizable rules? | Analyse Grid Observability
3.4.5 | Can a substitute value strategy be defined in the system to prioritize the available pseudo-measurement values? | Analyse Grid Observability
3.5 | State Estimation Solution
3.5.1 | Is the tool able to estimate all line flows, loads, transformer taps, generator outputs and measurement residuals? | State Estimation
3.5.2 | Which State Estimation method is used? If there are different options, which options are available? | State Estimation
3.5.3 | Are the results of a successfully converged state estimation made available in CIM format as part of an CGMES 2.X file? | State Estimation
3.6 | Bad Data Handling
3.6.1 | Is it possible to specify a cos-phi to calculate the pseudo-node balance? | Handling of Bad Data
3.6.2 | Is it possible to set a delay time for the replacement value strategy (e.g. because certain input values may be delayed and should still be used, before replacement values are used)? | Handling of Bad Data
3.6.3 | Can the tool detect bad data? If yes, which methods are provided? | Handling of Bad Data
3.6.4 | Can the system replace bad data using a defined replacement value strategy and rerun the estimation? | Handling of Bad Data
3.7 | User Interface
3.7.1 | Can the system be connected with the MCCS User Interface or will it come with its own UI? | User Interface
3.8 | Additional functionalities
3.8.1 | Is the system able to peform a "backwards estimation", in order to estimate the input values/Equipment Parameters? | State Estimation
3.8.2 | Do you offer AI based methods? If yes, which? | State Estimation
3.8.3 | Is offline mode supported (e.g. for training of operators)? | General

## 04 IT-related topics
4. | General IT-releated questions | Select answer (dropdown) or leave blank | Explanation/Details/Specification
4.1 | Modularity, Programming Interfaces and IT-Services
4.1.1 | Can the different functionalities be supplied in a modular manner? (e.g. autonomous and self-contained observability analysis)
4.1.2 | To what extend does the tool allow programmability within the tool itself?
4.1.3 | What operating systems are supported?
4.1.4 | Are there dependencies on other software (databases, middleware, …) to be able to run the sofware? If yes, please name the dependecies.
4.1.5 | Can you run the software in (docker-) containers?
4.1.5.1 | If (3.1.5) yes: Are images available?
4.1.5.2 | If (3.1.5) yes: Do you offer Images using Windows as base image?
4.1.5.3 | If (3.1.5) yes: Do you offer Images using Linux as base image?
4.1.6 | Can the software be run in engine mode (simply as a service without UI and without user interaction)?
4.1.7 | Which protocols are supported (e.g. REST, gRCP, Kafka)?
4.1.8 | Which functionalities are exposed via API's?
4.1.9 | Is it possible to connect external components (e.g. solvers)?
4.1.10 | Does the system support parallelization of operations?
4.1.10.1 | If (3.1.10) yes: What are the adjustable parameters for parallelzation?
4.1.11 | What kind of deployment models are supported (Local/SaaS/Cloud/hybrid)?
4.1.12 | Which integration scenarios presented in the attached document "MCCSng_Ext-System_Integration_Scenarios.pdf" are you able to realize with your technology stack enabling State Estimation?
4.1.13 | Can you provide a Web UI? If yes, provide at least 3 sample screenshots.
4.2 | IT-support
4.2.1 | Does the vendor offer IT-support?
4.2.1.1 | If (3.2.1) yes, which support modes (24/7, business hours) are offered?
4.2.2 | How fast can the vendor react to issues and start fixing them?
4.2.3 | What is the licensing model also related to pricing (f.e. SaaS, one time fee)? Could you please provide a cost indication with the response?
4.2.4 | What kind of protection is used (USB-dongle, Software License, etc.) and how is it technically organized, especially for the container mode?